## Slide 1
Building Confidence
with PRESTAN Professional Manikins
[DATE]
[NAME, TITLE]

## Slide 2: Agenda
Introduction
Key Product Features
Product Demo
Training Resources
Q&A

## Slide 3: Introduction

## Slide 4: PRESTAN is Committed to Building Confidence…
with Students
  realistic CPR manikin designs that provide immediate feedback
  AED features that provide the most accurate representation of how live AED’s perform
with Instructors
  high quality CPR manikins and AED trainers
  easy to setup & clean, compact & lightweight to carry
  provide immediate feedback to students
with Distributors
  long term investment in new product development
  high quality CPR & AED training products backed by industry leading 3-year warranty

## Slide 5: CPR Training Manikin Product Positioning
*Mobile device not included
Features & Benefits
Basic CPR Training
Advanced CPR Training
PRESTAN Professional
Adult & Jaw Thrust
PRESTAN Ultralite®
PRESTAN Professional
Adult Series 2000

## Slide 6: Professional Manikin Product Offerings
Professional Adult
Professional Adult Jaw Thrust
N
Professional Adult Series 2000
Professional Child
Professional Infant

## Slide 7: Professional Manikin Specialty Packs
PRESTAN TAKE2® Collection
PRESTAN Collection
PRESTAN Family Pack
Professional Adult, Child, Infant and TAKE2® Diversity Kits

## Slide 8: CPR Training Supplies

## Slide 9: Manikin Parts, Accessories & Consumables

## Slide 10: AED Trainer Product Offerings
N
PRESTAN Professional AED Trainer PLUS
PRESTAN AED UltraTrainerTM

## Slide 11: AED Trainer Parts, Accessories & Consumables

## Slide 12: Key Product Features

## Slide 13: Professional Manikin Key Product Features
N
Realistic to eye and touch
Lightweight with fast & simple setup
Immediate rate & depth feedback fully compliant with industry guidelines
  Recoil, ventilation and hands off time available with Series 2000 Manikin & PRESTAN CPR Feedback App
Easy to clean and maintain
Medium and dark skin tones
Single, 4-pack and specialty packs
3-year warranty

## Slide 14: Building Confidence with CPR Feedback
N
Professional Manikin CPR Feedback Video
Professional Series 2000 & CPR Feedback App Video

## Slide 15: Face-Shield / Lung-Bag Installation
N
Specifically designed to fit PRESTAN Adult, Child, and Infant manikins
Easy installation with fast & simple setup
Face-shield secures to mouth with ear pins
Provides visible chest rise with breaths
Ventilation feedback available with Adult Series 2000 Manikin & CPR Feedback App
50-packs available for repeat purchase

## Slide 16: Cleaning & Storage Recommendations
The face and body of all PRESTAN Manikins can be wiped down with a mixture of soap and water, common household cleaners or disinfecting wipes.
The face skin may be sanitized with alcohol wipes or soaked in a solution of 1/4 cup bleach mixed with one gallon of water for 10 minutes.
    Between student uses, an alcohol wipe may be used to clean the face skin as an extra measure of safety.
The PRESTAN Female Accessory should be hand wash in cold water with a mild detergent and hung to dry
      DO NOT wash with detergent containing bleach, machine wash or place in the dryer.
All PRESTAN storage bags can be wiped down and surface cleaned only with a mixture of soap and water, common household cleaners or disinfecting wipes.
N

## Slide 17: Product Demo

## Slide 18: Professional Adult Series 2000 Manikin – Demo/Video

## Slide 19: Professional Adult Series 2000 Manikin
Dual-purpose training solution
  Traditional rate monitor in shoulder and clicker (beep) provides basic rate and depth
  Advanced feedback including rate, depth, recoil, ventilation, and hands-off time provided with PRESTAN CPR Feedback App
Add-on Kit available to upgrade PRESTAN Professional Adult and Jaw Thrust Manikins (2018 model or newer)
  Model date can be found on back of manikin torso
1-year warranty

## Slide 20: PRESTAN CPR Feedback App
Free PRESTAN CPR Feedback app available on Apple & Android devices
Monitor & report Advanced CPR Feedback via Bluetooth® connection
Allows instructors to monitor up to six students at one time
  Or students can monitor on their own personal device for self-correction

## Slide 21: PRESTAN CPR Feedback App CCF Calculation
Chest Compression Fraction Calculation
Hands-on Time/Total CPR Cycle Time = Chest Compression Fraction
Example
Total CPR Cycle Time = 326 seconds (5 min, 26 sec)
Hands-off Time = 21 seconds (3 cycles at 7 sec each)
Hands-on Time = 305 seconds (326-21 = 305 sec)
Chest Compression Fraction = 94% (305/326 = 0.94 or 94%)

## Slide 22: Professional Adult/Child Manikin – Demo/Video

## Slide 23: PRESTAN Female AccessoryTM
The PRESTAN Female Accessory
has been designed to:﻿
*Build Confidence in CPR Training
*Improve CPR Survival Rates in Women
*Encourage Dialogue & Breakdown Barriers
*Eliminate Gender Bias in CPR Administration
PRESTAN is committed to building confidence to help save more women’s lives

## Slide 24: Professional Infant Manikin – Demo/Video

## Slide 25: Training Resources

## Slide 26: Professional Adult Series 2000 Manikin Resources
Adult Series 2000 Manikin Instruction Sheet
  Cleaning & Storage (pg 3)
  Face-Shield / Lung-Bag Overview & Recommendations (pg 4)
  CPR Monitor Guide (pg 5)
  CPR Feedback App Guide (pg 6-19)
  Face-Shield / Ventilation Lung-Bag Installation Guide (pg 20)
  Troubleshooting Guide (pg 21-25)
  Warranty (pg 26)
Series 2000 Add-On Kit Installation Guide and Installation Video
Series 2000 & CPR Feedback App Troubleshooting Guide
Series 2000 Product Warranty

## Slide 27: PRESTAN CPR Feedback App Resources
Series 2000 & CPR Feedback App Troubleshooting Guide
CPR Feedback App Instructional Training Videos
  PRESTAN CPR Feedback App: Training Video (15 min full overview)
  Downloading the PRESTAN CPR Feedback App
  PRESTAN CPR Feedback App: Overview Guide
  PRESTAN CPR Feedback App: Ventilation Calibration
  PRESTAN CPR Feedback App: Assigning Manikin Color & Number ID
  PRESTAN CPR Feedback App: Renaming Your Manikin
  Training with the PRESTAN CPR Feedback App
  PRESTAN CPR Feedback App: Data Review

## Slide 28: Professional Adult Manikin Resources
Adult Manikin Instruction Sheet
  Cleaning & Storage (pg 3)
  Face-Shield / Lung-Bag Overview (pg 4)
  CPR Monitor Guide (pg 5)
  Face-Shield / Lung-Bag Installation (pg 6)
  Troubleshooting Guide (pg 7-9)
  Warranty (pg 10)
General Manikins, Adult FAQs
Adult CPR Rate Monitor Help Guide
Installing Adult Lung Bag Help Guide
Cleaning Adult Clicker Help Guide
Replacing Adult Clicker Help Guide
Replacing Adult Piston Sleeve & Chest Plate Help Guide
Professional Adult Product Video
CPR Feedback Instructional Video
Installing Face-Shield/Lung-Bag Video
Replacing Chest Assembly Video
Professional Manikin Product Warranty

## Slide 29: Professional Child Manikin Resources
Child Manikin Instruction Sheet
  Cleaning & Storage (pg 3)
  Face-Shield / Lung-Bag Overview (pg 4)
  CPR Monitor Guide (pg 5)
  Face-Shield / Lung-Bag Installation (pg 6)
  Troubleshooting Guide (pg 7-9)
  Warranty (pg 10)
General Manikins, Adult/Child FAQs
Adult/Child CPR Rate Monitor Help Guide
Installing Adult/Child Lung Bag Help Guide
Cleaning Adult/Child Clicker Help Guide
Replacing Adult/Child Clicker Help Guide
Replacing Adult/Child Piston Sleeve & Chest Plate Help Guide
CPR Feedback Instructional Video
Installing Face-Shield/Lung-Bag Video
Replacing Chest Assembly Video
Professional Manikin Product Warranty

## Slide 30: Professional Infant Manikin Resources
Infant Manikin Instruction Sheet
  Cleaning & Storage (pg 3)
  Face-Shield / Lung-Bag Overview (pg 4)
  CPR Monitor Guide (pg 5)
  Face-Shield / Lung-Bag Installation (pg 6)
  Troubleshooting Guide (pg 7-9)
  Warranty (pg 10)
General Manikins, Infant FAQs
Replacing Infant CPR Monitor & Batteries Help Guide
Repairing Infant CPR Monitor Help Guide
Replacing Infant Clicker Help Guide
Replacing Infant Limbs Help Guide
Replacing Infant Chest Foam Help Guide
Professional Infant Product Video
CPR Feedback Instructional Video
Professional Manikin Product Warranty

## Slide 31: Q&A

## Slide 32: To learn more about how PRESTAN is building confidence, please visit www.prestanproducts.com
[NAME, TITLE]
[E-mail: ]
[Phone: ]